## Blad1
Power requirements for team: Deco (mostly everything)

Device type or village	Location	Rated power (kW)	Type of plug	Day turned on	Day turned off	Notes
Deco:Road-signs	Entrance (directly near the road)	? Two x-mas LED strings	normal EU	0	end of event	These are on opposite sites of the path
Deco:EntranceGate	Entrance (end of entry foot path)	? 4 x-mas LED strings	normal EU	0	end of event	This is the gate that goes across the path. There will also be lighting pointed at the gate; this is not that, this is the gate itself.
Deco:Crystals	TBD, near semi busy road, preferrably a quiet area	4 watt / unit	16x Ungrounded flat EU (Type C?)	0	end of event	Deployed as 1 long strip consisting of 16 pieces, 3-4 meter interval, also need cords for inbetween units
Deco:Dragon	Next to Clairvoyance stage, near pond and toilets	2200 watt	1x Schuko (8 sockets internally)	0	end of event
Deco:Flowers	Bridge over dyke + TBD	<20 watt / unit	48x Ungrounded flat EU with trafo block	0	end of event	Hoxolotl can provide more details
Deco:LennyFace	3x TBD	<300 watt / unit	Schuko	0	end of event	3 units placed apart
Deco:MCH-Letters	1x Near any busy road, TBD	<200 watt / unit	Schuko	0	end of event
Deco:Map	3x Near busy roads, TBD	<200 watt / unit	Schuko	0	end of event
Deco:RGBlocks	90x units, grouping TBD	5 watt / unit	90x Shuko	0	end of event	90 units but can will be grouped and deployed in a chain. SA007 can provide details
Deco:TarpSculpture	1x That big dead tree on Hamilton Field	<1000 watt	Schuko	0	end of event
Deco:TBE-Light	TBD	?	Schuko	0	end of event	Waiting for anwser from team member

Device type: Short description, for instance “dishwasher”, “toilet unit”, “projector” or “hamburger foodtruck” / Location: GPS location or name of tent/area, be as specific as possible. If no clue, TBD or flexible, use that. / Rated power (kW): Must be somewhere on the device on a sticker or in a manual. Maybe look it up on the internet. If really no clue, leave blank. / Type of plug: We don’t have any 16A/400V outlets, order these if needed or ask the supplier to add those. Note: Blue CEE or Perilex is not supported at all by our infra. / Day turned on: Only fill in if needed running during buildup. Be conservative, generator power is really expensive (> €2 / kWh) and budget is tight! / Day turned off: Only fill in if needed running during teardown. Be conservative, generator power is really expensive (> €2 / kWh) and budget is tight! / Notes: Extra info, for instance: “Infra needed during buildup on Sunday for testing” or “Only turned on from 12:00 to 14:00 each day”.