## Blad1
Power requirements for team: Productiehuis

General note:	Power has not been requested in time, power team expects to hear specifics about 6 months before the event starts for these kinds of huge installations.

Device type	Location	Rated power (kW)	Type of plug	Day turned on	Day turned off	Notes
Large TVs x 4	Abacus	1	Spykersound
Holoplot sound system	Abacus	45	Spykersound			Runs 24/5, total idle current: ?A, total average current in use: ?A
Projector	Abacus	4	Spykersound
Lighting (audience)	Abacus	2	Spykersound
Lighting (speaker)	Abacus	2	Spykersound
Lighting (stage)	Abacus	2	Spykersound
Other equipment	Abacus	4	Spykersound
Total	Abacus	60				Challenge: Go over 44kW for a minute or 60kW peak 1 and get a mate.*
Large TVs x 4	Battery	1	Spykersound
Line array sound system	Battery	3	Spykersound
Projector	Battery	4	Spykersound
Lighting (audience)	Battery	2	Spykersound
Lighting (speaker)	Battery	2	Spykersound
Lighting (stage)	Battery	2	Spykersound
Other equipment	Battery	2	Spykersound
Total	Battery	16
Large TVs x 4	Clairvoyance	1	Spykersound
Line array sound system	Clairvoyance	3	Spykersound
Projector	Clairvoyance	4	Spykersound
Lighting (audience)	Clairvoyance	2	Spykersound
Lighting (speaker)	Clairvoyance	2	Spykersound
Lighting (stage)	Clairvoyance	2	Spykersound
Other equipment	Clairvoyance	2	Spykersound
Total	Clairvoyance	16
Misc	DNA	3	Schuko x 4			Needs another 230V/16A line for workshop equipment
Misc	Envelope	3	Schuko x 4			Needs another 230V/16A line for workshop equipment
Misc	Gear	3	Schuko x 4			Needs another 230V/16A line for workshop equipment

Device type: Short description, for instance “dishwasher”, “toilet unit”, “projector” or “hamburger foodtruck” / Location: GPS location or name of tent/area, be as specific as possible. If no clue, TBD or flexible, use that. / Rated power (kW): Must be somewhere on the device on a sticker or in a manual. Maybe look it up on the internet. If really no clue, leave blank. / Type of plug: We don’t have any 16A/400V outlets, order these if needed or ask the supplier to add those. Note: Blue CEE or Perilex is not supported at all by our infra. / Day turned on: Only fill in if needed running during buildup. Be conservative, generator power is really expensive (> €2 / kWh) and budget is tight! / Day turned off: Only fill in if needed running during teardown. Be conservative, generator power is really expensive (> €2 / kWh) and budget is tight! / Notes: Extra info, for instance: “Infra needed during buildup on Sunday for testing” or “Only turned on from 12:00 to 14:00 each day”.

You are lucky Abacus is next to a generator, we will monitor current to Abacus and evaluate what really was needed. This data will be used for calculating a division factor for power / needed for next festival. ;) NORMAL calculations for power use 80% of peak power, not 200%. Spykersound might need a crash course in how to do power distribution calculations. :P

*) During day 1 to 5 when people are allowed inside the visitor area of the tent. Other non-alcoholic drink is ok too. Drink is for up to 6 people of team:Productiehuis and Spykersound.